## Thermal
COAL
| Power Station | Primary Fuel | Alternate Fuel | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24
| Huaneng Shandong Ruyi (Sahiwal) | Bituminous Coal |  | 6167.19 | 7342.7 | 6881.38 | 2876.85 | 2075.55
| Port Qasim Electric Power | Bituminous Coal, HSD |  | 8969.74 | 8372.38 | 7478.64 | 3203 | 782.26
| China Power Hub | Imported Coal |  | 6136.2 | 7923.41 | 6764.89 | 1546.82 | 476.55
| Engro Powergen Thar | Thar Coal |  | 4280.22 | 3909.3 | 3676.95 | 3646.06 | 3766.21
| Lucky Electric Power | Coal |  | -- | -- | 1774.1 | 3316.14 | 1688.68
| Thar Energy | Thar Coal |  | -- | -- | -- | 1205.57 | 1948.5
| Thar Coal Block-1 Power | Thar Coal |  | -- | -- | -- | 4255.92 | 7500.33
| ThalNova Power | Thar Coal |  | -- | -- | -- | 923.53 | 1979.84
| FFBL Power (Distributed Gen.) | Imported / Local Coal |  | 412.91 | 452.88 | 406.69 | 346.26 | 324.54
|  |  |  | 25966.26 | 28000.67 | 26982.65 | 21320.15 | 20542.46
GAS
| Power Station | Primary Fuel | Alternate Fuel | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24
| TPS Guddu (Units 5-10) | Gas |  | 1294.84 | 1477.11 | 1385.84 | 1948.96 | 341.73
| TPS Guddu (Units 11-13) | Gas |  | 311.56 | 223.96 | 148.16 | 19.42 | 0
| TPS Guddu (Units 14-16) | Gas | HSD | 4315.35 | 3123.82 | 2609.95 | 2635.92 | 2209.13
| TPS Muzaffargarh | Gas | RFO | 299.86 | 282.26 | 220.43 | 50.91 | 15.23
| GTPS Faisalabad | Gas | HSD | 0 | 14.26 | 98.83 | 0 | 0
| TPS Nandipur | Gas | HSD | 1476.33 | 1481.98 | 1640.82 | 1276.42 | 923.5
| Altern Energy | Gas |  | 3.73 | 12.4 | 0 | 0 | 0
| Fauji Kabirwala | Gas | HSD | 346.32 | 389.96 | 357.21 | 66.33 | 92.01
| Habibullah Coastal | Gas | HSD | 108.37 | 0 | 0 | 0 | 0
| KAPCO | Gas | RFO+HSD | 3476.67 | 3562.24 | 5142 | 587.84 | 0
| Rousch Power | Gas | HSD | 217.53 | 284.36 | 495.78 | 179.04 | 9.71
| Liberty Daharki Power | Gas | HSD | 896.74 | 983.33 | 1054.06 | 1001.19 | 903.87
| Uch Power | Gas | HSD | 4087.33 | 4088.44 | 4300.52 | 3901.33 | 3965.85
| Engro Powergen. Qadirpur | Gas | HSD | 700.74 | 648.5 | 791.03 | 935.42 | 813.48
| Saif Power | Gas | HSD | 476.28 | 639.4 | 734.99 | 538.22 | 220.59
| Orient Power | Gas | HSD | 338 | 597.92 | 836.38 | 604.79 | 541.2
| Sapphire Electric | Gas | HSD | 296.76 | 568.04 | 780.5 | 452.52 | 479.36
| Halmore Power | Gas | HSD | 347.69 | 509.79 | 675.93 | 287.05 | 207.55
| Foundation Power | Gas |  | 777.3 | 1000.37 | 1272.89 | 1190.38 | 1087.56
| Uch-II Power | Low BTU Gas |  | 2148.02 | 2339.37 | 2828.67 | 2776.43 | 2025.72
| QATPL (Bhikki) | RLNG | HSD | 5192.5 | 7118.8 | 6090.92 | 4697.55 | 3660.15
| NPPMCL (Haveli Bahadur Shah) | RLNG | HSD | 7050.34 | 7682.35 | 7488.57 | 6520.55 | 7930.78
| NPPMCL (Balloki) | RLNG | HSD | 5911.84 | 6032.81 | 7186.71 | 6863.66 | 6684.63
| Punjab Thermal Power | RLNG |  | -- | -- | 77.56 | 152.62 | 3197.29
| Bin Qasim TPS-I | Dual | RLNG | 3824.66 | 4730 | 3289.1 | 1851.7 | 622.22
| Bin Qasim TPS-II | Dual | RLNG | 4030.54 | 3926 | 3587.52 | 2634.48 | 2557.08
| Bin Qasim TPS-III | RLNG | RLNG | -- | -- | 243.5 | 2522.58 | 4178.13
| Korangi Town GTPS-II | Gas | RLNG | 299.73 | 365.23 | 114.52 | 10.18 | 1.59
| Site GTPS-II | Gas | RLNG | 397.23 | 215.67 | 102.86 | 24.41 | 0.17
| Korangi CCPP | Gas | RLNG | 1076.74 | 948.7 | 552.46 | 49.74 | 112.13
| SNPCL-I (IPP-2002) | Gas |  | 371.86 | 394.35 | 363.36 | 292.66 | 301.73
| SNPCL-II (IPP-2002) | Gas |  | 367.83 | 380.22 | 345.81 | 287.03 | 297.54
| Intl. Steel Ltd. (CPP) | Gas |  | 51.21 | 43 | 28.54 | 26.89 | 15.77
| Intl. Ind. Ltd. (CPP) | Gas |  | 10.66 | 10 | 9.29 | 10.41 | 1.58
| Lotte Chemicals | Gas | Gas | -- | 61 | 35.44 | 21.08 | 3.08
| Lucky Cement | Gas | Gas | -- | 0.02 | 2.98 | 2.26 | 3.36
|  |  |  | 50504.56 | 54135.66 | 54893.13 | 44419.97 | 43403.72
OIL
| Power Station | Primary Fuel | Alternate Fuel | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24
| TPS Jamshoro | RFO + Gas | RFO | 209.9 | 199.55 | 245.53 | 25.4 | 0
| Lal Pir Power | RFO |  | 186.32 | 620.78 | 1022.68 | 397.59 | 358.99
| Pak Gen. Power | RFO |  | 149.76 | 445.54 | 1304.35 | 443.74 | 211
| Hub Power | RFO |  | 32.38 | 112.91 | 1219.58 | 204.78 | 0
| Kohinoor Energy | RFO |  | 363.86 | 337.07 | 515.84 | 329.16 | 207.62
| Saba Power | RFO |  | 50.83 | 121.65 | 329.95 | 148.54 | 54.18
| Attock Gen. | RFO |  | 320.96 | 384.03 | 721.93 | 483.59 | 206.64
| Atlas Power | RFO |  | 259.33 | 517.08 | 1007.25 | 521.94 | 252.87
| Nishat Power | RFO |  | 277.46 | 523.4 | 794.25 | 537.9 | 453.69
| Nishat Chunian | RFO |  | 351.23 | 537.57 | 882.46 | 386.13 | 240.45
| Narowal Energy | RFO |  | 338.08 | 496.06 | 867.49 | 469.88 | 200.96
| Liberty Power Tech. | RFO |  | 458.54 | 606.66 | 925.44 | 556.15 | 239.94
| Reshma Power | RFO/HSFO |  | 2.07 | 0 | 0 | 0 | 0
| Gul Ahmed | RFO |  | 496.14 | 673 | 705.43 | 508.68 | 268.59
| Tapal Energy | RFO |  | 627.77 | 737 | 715.86 | 518.43 | 288.33
| Anoud Power (IGC) | RFO / Gas / | DO | 59.52 | 12 | 0 | 0 | 0
|  |  |  | 4184.15 | 6324.3 | 11258.04 | 5531.91 | 2983.26
THERMAL
| 80654.97 | 88460.63 | 93133.82 | 71272.03 | 66929.44

## Plant-wise Capacity
Power Station | Plant Location | Type of Power Station | 2020 | 2021 | 2022 | 2023 | 2024 | Dependable Capacity |  | Abbreviation | Meaning
A1: Hydel (WAPDA) | [9 empty] | ST or STs | Steam Turbine(s) – Conventional thermal unit using steam to generate electricity.
Tarbela | Tarbela, KPK | Reservoir | 3478 | 3478 | 3478 | 3478 | 3478 | 3478 |  | GT or GTs | Gas Turbine(s) – Use natural gas or oil to generate electricity directly.
Tarbela 4th Ext. | Tarbela, KPK | Reservoir | 1410 | 1410 | 1410 | 1410 | 1410 | 1410 |  | GEs | Likely Gas Engines – Internal combustion engines running on gas (like reciprocating engines).
Ghazi Barotha | Ghazi Barotha, Punjab | Run of River | 1450 | 1450 | 1450 | 1450 | 1450 | 1450 |  | CCPP | Combined Cycle Power Plant – Combines gas turbine + heat recovery + steam turbine.
Mangla | Mangla, AJ&K | Reservoir | 1000 | 1000 | 1000 | 1000 | 1000 | 1060 |  | GTs + CCPP | Combination of Gas Turbines and Combined Cycle Plants.
Warsak | Warsak, KPK | Run of River | 243 | 243 | 243 | 243 | 243 | 243 |  | GTs + HRSGs + ST | Gas Turbines + Heat Recovery Steam Generators + Steam Turbines – full combined cycle.
Chashma | Chashma, Punjab | Run of River | 184 | 184 | 184 | 184 | 184 | 184 |  | DE / DEs | Diesel Engine(s) – Reciprocating engines using diesel fuel.
Khan Khwar | Shangla, KPK | Reservoir | 72 | 72 | 72 | 72 | 72 | 72 |  | DGs | Diesel Generators – Often same as DEs, with generator mounted.
Allai Khwar | Battagram, KPK | Reservoir | 121 | 121 | 121 | 121 | 121 | 121 |  | REs | Reciprocating Engines – Piston-based engines (can be diesel or gas-fueled).
Jinnah Hydel | Mianwali, Punjab | Run of River | 96 | 96 | 96 | 96 | 96 | 36 |  | ST + CB | Steam Turbine with Condensing Boiler – a steam turbine supported by a dedicated boiler.
Duber Khwar | Kohistan, KPK | Reservoir | 130 | 130 | 130 | 130 | 130 | 130 |  | GTs + ST | Combination of Gas Turbines and Steam Turbines – often a simplified combined cycle setup.
Neelum Jhelum | Muzaffarabad, AJ&K | Run of River | 969 | 969 | 969 | 969 | 969 | 969 |  | DEs + ST | Diesel Engines and Steam Turbines – hybrid setup possibly using waste heat recovery.
Golen Gol | Chitral, KPK | Run of River | 108 | 108 | 108 | 108 | 108 | 108 |  | Reciprocating Engine | Same as RE – piston-based internal combustion engine.
Dargai | Dargai, KPK | Run of Canal | 20 | 20 | 20 | 20 | 20 | 20 |  | GEs | As noted, likely Gas Engines – similar to REs but gas-fueled.
Rasul | Punjab | Run of Canal | 22 | 22 | 22 | 22 | 22 | 22
Shadiwal | Punjab | Run of Canal | 14 | 14 | 14 | 14 | 14 | 14
Chichoki Mallian | Punjab | Run of Canal | 13 | 13 | 13 | 13 | 13 | 13 |  |  |  | coal
Nandipur | Punjab | Run of Canal | 14 | 14 | 14 | 14 | 14 | 14 |  |  |  | gas
Kurram Garhi | KPK | Run of Canal | 4 | 4 | 4 | 4 | 4 | 4 |  |  |  | oil
Renala | Punjab | Run of Canal | 1 | 1 | 1 | 1 | 1 | 1
Chitral | KPK | Run of Canal | 1 | 1 | 1 | 1 | 1 | 1
Gomal Zam | South Waziristan, KPK | Reservoir | 17 | 17 | 17 | 17 | 17 | 17
Malakand/Jabban | Malakand, KPK | Run of River | 22 | 22 | 22 | 22 | 22 | 22
Total Hydel (WAPDA) |  |  | 9389 | 9389 | 9389 | 9389 | 9389 | 9389
A2: Hydel (IPPs)
Jagran (AJ&K) | Jagran, AJ&K | Hydro | 30 | 30 | 30 | 30 | 30 | 30
Malakand-III (PEDO) | Malakand, KPK | Run of River/Canal | 84 | 84 | 84 | 84 | 84 | 81
Pehur (PEDO) | Swabi, KPK | Canal Fall/Run of River | 18 | 18 | 18 | 18 | 18
Laraib Energy (AJ&K) | Jhelum River, AJ&K | Hydro | 84 | 84 | 84 | 84 | 84 | 84
Garam Chashma | Chitral, KPK | Hydro | 1 | 1 | 1 | 1 | 1
Marala Hydro (PPDCL) | Sialkot, Punjab | Canal Fall/Run of River | 8 | 8 | 8 | 8 | 8 | 8
Patrind Hydro (AJ&K) | Muzaffarabad, AJ&K | Run of River | 147 | 147 | 147 | 147 | 147 | 147
Gulpur Hydropower Project | Gulpur, Kotli, AJK | Run of River | 100 | 100 | 100 | 100 | 100 | 101
Daral Khwar | Swat, KPK | Run of River |  | 37 | 37 | 37 | 37 | 37
Ranolia | Kohistan, KPK | High Head |  | 17 | 17 | 17 | 17 | 17
Karot Power Company | Karot, Dist Rawalpindi | Run of River |  |  | 720 | 720 | 720 | 720
Total Hydel (IPPs) |  |  | 472 | 526 | 1246 | 1246 | 124 | 1225
Total Hydel (A1+A2) |  |  | 9861 | 9915 | 10635 | 10635 | 10635 | 10614 | 1.2116
B1: Thermal (GENCOs: CPPA-G System)
TPS Jamshoro | Jamshoro, Sindh | STs | 880 | 880 | 880 | 880 | 880 | 300
TPS Guddu (Units 5-10) | Guddu, Sindh | GTs+CCPPs | 600 | 600 | 600 | 600 | 600 | 640
TPS Guddu (Units 11-13) | Guddu, Sindh | GTs+OCPPs | 415 | 415 | 415 | 415 | 415 | 415
TPS Guddu (Units 14-16) | Guddu, Sindh | GTs+ST+CCPPs | 747 | 747 | 747 | 747 | 747 | 721
TPS Quetta | Quetta, Balochistan | GT | 28 | 28 | 28 | 28 | 28 | 25
TPS Muzaffargarh | Muzaffargarh, Punjab | STs | 1350 | 1350 | 1350 | 1350 | 1350 | 450
GTPS Faisalabad | Faisalabad, Punjab | GTs+CCPPs | 144 | 144 | 144 | 0 | 0 | 0
TPS Nandipur | Gujranwala, Punjab | GTs+CCPPs | 567 | 567 | 567 | 567 | 567 | 500
FBC Lakhra | Lakhra, Sindh | STs | 150 | 150 | 0 | 0 | 0 | 0
Total Thermal (GENCOs: CPPA-G System) |  |  | 4881 | 4881 | 4731 | 4587 | 4587 | 2636
B2: Thermal (IPPs: CPPA-G System)
Lal Pir Power | Mehmood Kot, Punjab | ST | 362 | 362 | 362 | 362 | 362 | 350 | steam turbine
Pak Gen. Power | Mehmood Kot, Punjab | ST | 365 | 365 | 365 | 365 | 365 | 350
Altern Energy | Fateh Jang, Punjab | GEs | 31 | 31 | 0 | 0 | 0 | 0 | gas engine
Fauji Kabirwala | Kabirwala, Punjab | GTs+CCPP | 170 | 170 | 170 | 170 | 170 | 151 | gas turbine
Habibullah Coastal | Quetta, Balochistan | GTs+CCPP | 155 | 155 | 155 | 0 | 0 | 0
Hub Power | Hub, Balochistan | STs | 1292 | 1292 | 1292 | 1292 | 1292 | 1200
Japan Power | Raiwind, Punjab | DE | 120 | 120 | 0 | 0 | 0 | 0 | diesel engine
KAPCO | Kot Addu, Punjab | GTs+CCPPs | 1600 | 1600 | 1600 | 1600 | 1600 | 0
Kohinoor Energy | Raiwind, Punjab | DEs+ST | 131 | 131 | 131 | 131 | 131 | 124
Rousch Power | Sidhnai, Punjab | GTs+ST | 450 | 450 | 450 | 450 | 450 | 395
Saba Power | Farooqabad, Punjab | ST | 136 | 136 | 136 | 136 | 136 | 125
Southern Electric | Raiwind, Punjab | DEs | 117 | 117 | 0 | 0 | 0 | 0
Liberty Daharki Power | Daharki, Sindh | GTs+CCPP | 235 | 235 | 235 | 235 | 235 | 212
Uch Power | Murad Jamali, Balochistan | GTs+ST | 586 | 586 | 586 | 586 | 586 | 547
Attock Gen. | Attock Morgah, Punjab | DGs+ST | 165 | 165 | 165 | 165 | 165 | 156 | diesel generator
Atlas Power | Sheikhupura, Punjab | REs+ST | 224 | 224 | 224 | 224 | 224 | 214
Engro Power Gen. Qadirpur | Qadirpur, Sindh | GT+ST | 227 | 227 | 227 | 227 | 227 | 212
Saif Power | Sahiwal, Punjab | GTs+ST | 225 | 225 | 225 | 225 | 225 | 204
Orient Power | Balloki, Punjab | GTs+ST | 225 | 225 | 225 | 225 | 225 | 203
Nishat Power | Qasur, Punjab | REs+ST | 202 | 202 | 202 | 202 | 202 | 195 | reciprocating engine
Nishat Chunian | Qasur, Punjab | DEs+ST | 202 | 202 | 202 | 202 | 202 | 196
Sapphire Electric | Muridke, Punjab | GTs+ST | 235 | 235 | 235 | 235 | 235 | 202
Halmore Power | Bhikki, Punjab | GTs+ST | 225 | 225 | 225 | 225 | 225 | 200
Narowal Energy | Narowal, Punjab | DEs+ST | 214 | 214 | 214 | 214 | 214 | 214
Liberty Power Tech. | Faisalabad, Punjab | DEs+ST | 202 | 202 | 202 | 202 | 202 | 196
Foundation Power | Daharki, Sindh | GT+ST | 179 | 179 | 179 | 179 | 179 | 168
Davis Energen. | Jhang, Punjab | GEs | 12 | 12 | 12 | 0 | 0 | 0
Uch-II Power | Murad Jamali, Balochistan | GTs+ST | 404 | 404 | 404 | 404 | 404 | 372
Huaneng Shandong Ruyi (Sahiwal Imported Coal) | Sahiwal, Punjab | STs | 1320 | 1320 | 1320 | 1320 | 1320 | 1244
QATPL (Bhikki) | Bhikki, Punjab | GTs+HRSGs+ST | 1231 | 1231 | 1231 | 1231 | 1231 | 1163 | Heat Recovery Steam Generators
NPPMCL (HBS) | HBS, Punjab | GTs+HRSGs+ST | 1277 | 1277 | 1277 | 1277 | 1277 | 1172
NPPMCL (Balloki) | Balloki, Punjab | GTs+HRSGs+ST | 1276 | 1276 | 1276 | 1276 | 1276 | 1165
Port Qasim Electric Power | Port Qasim, Sindh | ST+CB | 1320 | 1320 | 1320 | 1320 | 1320 | 1243 | Condensing Boiler
Reshma Power | Raiwind, Punjab | Reciprocating Engine | 97 | 97 | 0 | 0 | 0 | 0
Gulf Powergen | Gujranwala, Punjab | Reciprocating Engine | 84 | 84 | 0 | 0 | 0 | 0
China Power Hub | Lasbella, Balochistan | ST+CB | 1320 | 1320 | 1320 | 1320 | 1320 | 1249
Engro Powergen Thar | Tharparkar, Sindh | ST+CB | 660 | 660 | 660 | 660 | 660 | 603
Lucky Electric Power | Bin Qasim Town, Karachi | ST+CB | -- | -- | 660 | 660 | 660 | 605
Punjab Thermal Power | Trimmu, Punjab | GTs+HRSGs+ST | -- | -- | 1263 | 1263 | 1263 | 1243
Thar Energy | -- | -- | -- | 330 | 330 | 300
Thar Coal Block-1 Power | -- | -- | -- | 1320 | 1320 | 1230
ThalNova Power | -- | -- | -- | 330 | 330 | 303
Total Thermal (IPPs: CPPA-G System) |  |  | 17276 | 17276 | 18750 | 20563 | 20563 | 17706
Total Thermal in CPPA-G System (B1+B2) |  |  | 22157 | 22157 | 23481 | 25150 | 25150 | 20342 | 23480
C: Nuclear
CHASNUPP-I | Chashma, Punjab | STs | 325 | 325 | 325 | 325 | 325 | 301
CHASNUPP-II | Chashma, Punjab | STs | 325 | 325 | 325 | 325 | 325 | 315
CHASNUPP-III | Chashma, Punjab | STs | 340 | 340 | 340 | 340 | 340 | 315
CHASNUPP-IV | Chashma, Punjab | STs | 340 | 340 | 340 | 340 | 340 | 315
KANUPP | Karachi, Sindh | STs | 137 | 137 | 0 | 0 | 0 | 0
KANUPP-II | Karachi, Sindh | STs | -- | 1145 | 1145 | 1145 | 1145 | 1040
KANUPP-III | Karachi, Sindh | STs | -- | -- | 1145 | 1145 | 1145 | 1040
Total Nuclear (C) |  |  | 1467 | 2612 | 3620 | 3620 | 3620 | 3326
D: Renewable Energy (CPPA-G System)
D1: Wind Power Projects
Zorlu Enerji Pakistan | Thatta, Sindh | WTs | 56 | 56 | 56 | 56 | 56 | 56
FFC Energy | Thatta, Sindh | WTs | 50 | 50 | 50 | 50 | 50 | 50
Three Gorges First Wind Farm | Thatta, Sindh | WTs | 60 | 60 | 50 | 50 | 50 | 50
Foundation Wind Energy-I | Thatta, Sindh | WTs | 50 | 50 | 50 | 50 | 50 | 50
Foundation Wind Energy-II | Thatta, Sindh | WTs | 50 | 50 | 50 | 50 | 50 | 50
Sapphire Wind | Thatta, Sindh | WTs | 53 | 53 | 53 | 53 | 53 | 50
Yunus Energy | Thatta, Sindh | WTs | 50 | 50 | 50 | 50 | 50 | 50
Metro Power Company | Thatta, Sindh | WTs | 50 | 50 | 50 | 50 | 50 | 50
Gul Ahmad Wind | Thatta, Sindh | WTs | 50 | 50 | 50 | 50 | 50 | 50
Master Wind Energy | Thatta, Sindh | WTs | 50 | 50 | 50 | 50 | 50 | 50
Tenaga Generasi | Thatta, Sindh | WTs | 50 | 50 | 50 | 50 | 50 | 50
HydroChina Dawood Power | Thatta, Sindh | WTs | 50 | 50 | 50 | 50 | 50 | 50
Sachal Energy Development | Thatta, Sindh | WTs | 50 | 50 | 50 | 50 | 50 | 50
UEP Wind Power | Thatta, Sindh | WTs | 99 | 99 | 99 | 99 | 99 | 99
Artistic Wind Power | Thatta, Sindh | WTs | 50 | 50 | 50 | 50 | 50 | 50
Act Wind | Thatta, Sindh | WTs | 30 | 30 | 30 | 30 | 30 | 30
Hawa Energy | Thatta, Sindh | WTs | 50 | 50 | 50 | 50 | 50 | 50
Jhimpir Power | Thatta, Sindh | WTs | 50 | 50 | 50 | 50 | 50 | 50
Three Gorges Second Wind Farm | Thatta, Sindh | WTs | 50 | 50 | 50 | 50 | 50 | 50
Three Gorges Third Wind Farm | Thatta, Sindh | WTs | 50 | 50 | 50 | 50 | 50 | 50
Tricon Boston Consulting-A | Thatta, Sindh | WTs | 50 | 50 | 50 | 50 | 50 | 50
Tricon Boston Consulting-B | Thatta, Sindh | WTs | 50 | 50 | 50 | 50 | 50 | 50
Tricon Boston Consulting-C | Thatta, Sindh | WTs | 50 | 50 | 50 | 50 | 50 | 50
Zephyr Power | Thatta, Sindh | WTs | 50 | 50 | 50 | 50 | 50 | 50
Lucky Renewables | Thatta, Sindh | WTs | -- | -- | 50 | 50 | 50 | 50
Master Green Energy | Thatta, Sindh | WTs | -- | -- | 50 | 50 | 50 | 50
Act 2 Din Wind | Thatta, Sindh | WTs | -- | -- | 50 | 50 | 50 | 50
Artistic 2 Wind Power | Thatta, Sindh | WTs | -- | -- | 50 | 50 | 50 | 50
Indus Wind Energy | Thatta, Sindh | WTs | -- | -- | 50 | 50 | 50 | 50
Lakeside Energy | Thatta, Sindh | WTs | -- | -- | 50 | 50 | 50 | 50
Liberty Wind Power-I | Thatta, Sindh | WTs | -- | -- | 50 | 50 | 50 | 50
Din Energy | Thatta, Sindh | WTs | -- | -- | 50 | 50 | 50 | 50
Gul Ahmed Electric | Thatta, Sindh | WTs | -- | -- | 50 | 50 | 50 | 50
Liberty Wind Power-II | Thatta, Sindh | WTs | -- | -- | 50 | 50 | 50 | 50
NASDA Green Energy | Thatta, Sindh | WTs | -- | -- | 50 | 50 | 50 | 50
Metro 2 Wind Power | Thatta, Sindh | WTs | -- | -- | 50 | 50 | 50 | 60
Total Wind Power Projects |  |  | 1248 | 1248 | 1838 | 1838 | 1838 | 1845
D2: Solar Power Projects
Quaid-e-Azam Solar Park | Bahawalpur, Punjab | Solar | 100 | 100 | 100 | 100 | 100 | 96
Appolo Solar Development | Bahawalpur, Punjab | Solar | 100 | 100 | 100 | 100 | 100 | 96
Best Green Energy | Bahawalpur, Punjab | Solar | 100 | 100 | 100 | 100 | 100 | 96
Crest Energy | Bahawalpur, Punjab | Solar | 100 | 100 | 100 | 100 | 100 | 96
AJ Power | Khushab, Punjab | Solar | 12 | 12 | 12 | 12 | 12 | 12
Harappa Solar | Sahiwal, Punjab | Solar | 18 | 18 | 18 | 18 | 18 | 18
Atlas Solar | Layyah, Punjab | Solar | -- | -- | 100 | 100 | 100 | 100
Helios Power | Sukkur, Sindh | Solar | -- | -- | -- | -- | 50 | 50
Meridian Energy | Sukkur, Sindh | Solar | -- | -- | -- | -- | 50 | 50
HNDS Energy | Sukkur, Sindh | Solar | -- | -- | -- | -- | 50 | 50
Total Solar Projects |  |  | 430 | 430 | 530 | 530 | 680 | 664
D3: Bagasse/Biomass Power Projects
Jamal Din Wali-II | Rahim Yar Khan, Punjab | Bagasse+Biomass | 26 | 26 | 26 | 26 | 26 | 24
Jamal Din Wali-III | Rahim Yar Khan, Punjab | Bagasse+Biomass | 27 | 27 | 27 | 27 | 27 | 24
RYK Mills | Rahim Yar Khan, Punjab | Bagasse | 40 | 40 | 40 | 40 | 40 | 24
Chiniot Power | Chiniot, Punjab | Bagasse | 63 | 63 | 63 | 63 | 63 | 63
Fatima Energy | Muzaffargarh, Punjab | Biomass/Coal | 120 | 120 | 120 | 0 | 0 | 45
Hamza Sugar Mills | Rahim Yar Khan, Punjab | Bagasse+Biomass | 15 | 15 | 15 | 15 | 15 | 15
Thal Industries Corporation | Layyah, Punjab | Bagasse | 20 | 20 | 20 | 20 | 20 | 25
Almoiz Industries | Mianwali, Punjab | Bagasse | 36 | 36 | 36 | 36 | 36 | 36
Chanar Energy | Faisalabad, Punjab | Bagasse+Biomass | 22 | 22 | 22 | 22 | 22 | 22
Total Bagasse/Biomass Projects |  |  | 369 | 369 | 369 | 249 | 249 | 278
Total Renewable Energy (D1+D2+D3)(CPPA-G system) (D) |  |  | 2047 | 2047 | 2737 | 2617 | 2767 | 2787
E1: Thermal (KE Own)
Bin Qasim TPS-I | Karachi, Sindh | STs | 1260 | 1050 | 840 | 840 | 840 | 730
Bin Qasim TPS-II | Karachi, Sindh | GTs | 572 | 572 | 572 | 572 | 572 | 526
Bin Qasim TPS-III | Karachi, Sindh | GTs | -- | -- | 471 | 942 | 942 | 918
Korangi Town GTPS-II | Karachi, Sindh | GTs | 107 | 107 | 107 | 107 | 107 | 96
Site GTPS-II | Karachi, Sindh | GTs | 107 | 107 | 107 | 107 | 107 | 96
Korangi CCPP | Karachi, Sindh | GTs | 248 | 248 | 248 | 248 | 248 | 227
Total KE Own Thermal |  |  | 2294 | 2084 | 2345 | 2816 | 2816 | 2593
E2: Thermal (IPPs connected with KE)
Gul Ahmed | Karachi, Sindh | DE+ST | 136 | 136 | 136 | 136 | 136 | 128
Tapal Energy | Karachi, Sindh | DE+ST | 126 | 126 | 126 | 126 | 126 | 124
SNPCL-I | Jamshoro, Sindh | GEs+STs | 52 | 52 | 52 | 52 | 52 | 51
SNPCL-II | Jamshoro, Sindh | GEs+STs | 52 | 52 | 52 | 52 | 52 | 51
Total Thermal (IPPs connected with KE System |  |  | 366 | 366 | 366 | 366 | 366 | 354
E3: Thermal (Others connected with KE System)
Anoud Power (IGC) | Karachi, Sindh | DGs | 12 | 12 | 12 | 0 | 0 | 11
Intl. Steel Limited (CPP) | Karachi, Sindh | GEs+DGs | 19 | 19 | 19 | 19 | 19 | 17
Intl. Ind. Limited (CPP) | Karachi, Sindh | GEs+ST | 4 | 4 | 4 | 4 | 4 | 4
FFBL Power (Distributed Gen.) | Karachi, Sindh | CFB+STs | 52 | 52 | 52 | 52 | 52 | 103
Lotte Chemicals | Karachi, Sindh | RLNG | -- | 48 | 48 | 14 | 14 | 41
Lucky Cement | Lakki Marwat, KPK | Waste Heat Recovery | -- | 16 | 16 | 5 | 5 | 15
Total Thermal (Others with KE) |  |  | 87 | 151 | 151 | 94 | 94 | 191
Total Thermal KE (E1+E2+E3) |  |  | 2747 | 2601 | 2862 | 3276 | 3276 | 3138
E4: Renewable Energy (KE System)
Oursun Pakistan | Thatta, Sindh | Solar | 50 | 50 | 50 | 50 | 50 | 39
Gharo Solar | Thatta, Sindh | Solar | 50 | 50 | 50 | 50 | 50 | 40
Net-Metering Import | - | Solar | -- | -- | 60 | 202 | 333 | 0
Total RE (KE System) |  |  | 100 | 100 | 160 | 302 | 433 | 79
Total KE (KE own and others connected with KE System) |  |  | 2847 | 2701 | 3022 | 3578 | 3709 | 3217
F: SPPs/CPPs/N-CPPs: CPPA-G System [Contract Capacity (MW)]
Total SPPs/CPPs/N-CPPs: CPPA-G System (F) |  |  | 340 | 340 | 340 | 340 | 340 | 257
Grand Total (A+B+C+D+E+F) |  |  | 38719 | 39772 | 43835 | 45940 | 46221 | 40543

## Solar
CAP
| Power Station | Plant Location | Type of Power Station | 2020 | 2021 | 2022 | 2023 | 2024 | Dependable Capacity
| Quaid-e-Azam Solar Park | Bahawalpur, Punjab | Solar | 100 | 100 | 100 | 100 | 100 | 96
| Appolo Solar Development | Bahawalpur, Punjab | Solar | 100 | 100 | 100 | 100 | 100 | 96
| Best Green Energy | Bahawalpur, Punjab | Solar | 100 | 100 | 100 | 100 | 100 | 96
| Crest Energy | Bahawalpur, Punjab | Solar | 100 | 100 | 100 | 100 | 100 | 96
| AJ Power | Khushab, Punjab | Solar | 12 | 12 | 12 | 12 | 12 | 12
| Harappa Solar | Sahiwal, Punjab | Solar | 18 | 18 | 18 | 18 | 18 | 18
| Atlas Solar | Layyah, Punjab | Solar | -- | -- | 100 | 100 | 100 | 100
| Helios Power | Sukkur, Sindh | Solar | -- | -- | -- | -- | 50 | 50
| Meridian Energy | Sukkur, Sindh | Solar | -- | -- | -- | -- | 50 | 50
| HNDS Energy | Sukkur, Sindh | Solar | -- | -- | -- | -- | 50 | 50
| Oursun Pakistan | Thatta, Sindh | Solar | 50 | 50 | 50 | 50 | 50 | 39
| Gharo Solar | Thatta, Sindh | Solar | 50 | 50 | 50 | 50 | 50 | 40
| Net-Metering Import | - | Solar | -- | -- | 60 | 202 | 333 | 0
|  |  |  | 530 | 530 | 690 | 832 | 1113 | 743

## Sheet4
Huaneng Shandong Ruyi (Sahiwal) | Bituminous Coal |  | 6167.19 | 7342.7 | 6881.38 | 2876.85 | 2075.55
Port Qasim Electric Power | Bituminous Coal, HSD |  | 8969.74 | 8372.38 | 7478.64 | 3203 | 782.26
China Power Hub | Imported Coal |  | 6136.2 | 7923.41 | 6764.89 | 1546.82 | 476.55
Engro Powergen Thar | Thar Coal |  | 4280.22 | 3909.3 | 3676.95 | 3646.06 | 3766.21
Lucky Electric Power | Coal |  | -- | -- | 1774.1 | 3316.14 | 1688.68
Thar Energy | Thar Coal |  | -- | -- | -- | 1205.57 | 1948.5
Thar Coal Block-1 Power | Thar Coal |  | -- | -- | -- | 4255.92 | 7500.33
ThalNova Power | Thar Coal |  | -- | -- | -- | 923.53 | 1979.84
FFBL Power (Distributed Gen.) | Imported / Local Coal |  | 412.91 | 452.88 | 406.69 | 346.26 | 324.54
20542.46
20542.46
2.6432
|  | TPS Jamshoro | RFO + Gas | RFO | 209.9 | 199.55 | 245.53 | 25.4 | 0
|  | Lal Pir Power | RFO |  | 186.32 | 620.78 | 1022.68 | 397.59 | 358.99
|  | Pak Gen. Power | RFO |  | 149.76 | 445.54 | 1304.35 | 443.74 | 211
|  | Hub Power | RFO |  | 32.38 | 112.91 | 1219.58 | 204.78 | 0
|  | Kohinoor Energy | RFO |  | 363.86 | 337.07 | 515.84 | 329.16 | 207.62
|  | Saba Power | RFO |  | 50.83 | 121.65 | 329.95 | 148.54 | 54.18
|  | Attock Gen. | RFO |  | 320.96 | 384.03 | 721.93 | 483.59 | 206.64
|  | Atlas Power | RFO |  | 259.33 | 517.08 | 1007.25 | 521.94 | 252.87
|  | Nishat Power | RFO |  | 277.46 | 523.4 | 794.25 | 537.9 | 453.69
|  | Nishat Chunian | RFO |  | 351.23 | 537.57 | 882.46 | 386.13 | 240.45
|  | Narowal Energy | RFO |  | 338.08 | 496.06 | 867.49 | 469.88 | 200.96
|  | Liberty Power Tech. | RFO |  | 458.54 | 606.66 | 925.44 | 556.15 | 239.94
|  | Reshma Power | RFO/HSFO |  | 2.07 | 0 | 0 | 0 | 0
|  | Gul Ahmed | RFO |  | 496.14 | 673 | 705.43 | 508.68 | 268.59
|  | Tapal Energy | RFO |  | 627.77 | 737 | 715.86 | 518.43 | 288.33
|  | Anoud Power (IGC) | RFO / Gas / | DO | 59.52 | 12 | 0 | 0 | 0
2983.26
0.34055

## Plant-wise Generation
Power Station | Primary Fuel | Alternate Fuel | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24
A1: Hydel (WAPDA)
Major Hydropower Units
Tarbela | Hydel | Hydel | 11857.69 | 12565.74 | 10955.73 | 12445.84 | 13292.86 | [7 empty] | ratios | from actual total | GWa
Tarbela 4th Ext. | Hydel | Hydel | 5485.66 | 3418.78 | 3276.12 | 4426.93 | 4642.31 | R12_PAK | hydro_hc | 2020 | M1 | year | 3.6688 | GWa | 0.958 | 38226.3974 | 4.3637
Ghazi Barotha | Hydel | Hydel | 6482.21 | 6810.91 | 6761.55 | 6813.18 | 6465.78 | R12_PAK | hydro_lc | 2020 | M1 | year | 0.16085 | GWa | 0.042001 | 1675.9426 | 0.19132
Mangla | Hydel | Hydel | 4589.33 | 5313.83 | 4200.26 | 3838.38 | 5173.26 | [5 empty] | 3.8297 | GWa |  |  | 4.5551
Warsak | Hydel | Hydel | 1095.46 | 1064.99 | 933.85 | 898.59 | 775.37 | [5 empty] | 33548.172 | GWh
Chashma | Hydel | Hydel | 747.16 | 772.32 | 795.68 | 876.34 | 973.58
Khan Khwar | Hydel | Hydel | 273.88 | 231.19 | 162.44 | 263.29 | 245.76
Allai Khwar | Hydel | Hydel | 469.47 | 438.78 | 373.03 | 485.37 | 457.4
Jinnah | Hydel | Hydel | 176.58 | 235.02 | 256.06 | 206.7 | 205.12
Duber Khwar | Hydel | Hydel | 609.4 | 640.78 | 616.96 | 494.96 | 453.75
Neelum Jhelum | Hydel | Hydel | 4842.3 | 4784.16 | 3620.23 | 107.72 | 1774.04
Golen Gol | Hydel | Hydel | 86.13 | 82.4 | 138.14 | 131.94 | 174.76
Small Hydropower Units
Dargai | Hydel | Hydel | 98.42 | 108.72 | 87.4 | 71.27 | 63.11
Rasul | Hydel | Hydel | 34.04 | 76.63 | 58.9 | 54.12 | 72.24
Shadiwal | Hydel | Hydel | 13.68 | 31.9 | 28.06 | 32.45 | 36.34
Chichoki Mallian | Hydel | Hydel | 29.54 | 27.38 | 22.46 | 30.88 | 30.38
Nandipur | Hydel | Hydel | 33.82 | 32.48 | 29.21 | 36.13 | 36.11
Kurram Garhi | Hydel | Hydel | 15.11 | 19.71 | 10.95 | 14.45 | 15.83
Renala | Hydel | Hydel | 1.03 | 1.96 | 1.81 | 1.74 | 1.61
Chitral | Hydel | Hydel | 3.04 | 2.65 | 2.15 | 2.69 | 1.88
Gomal Zam | Hydel | Hydel | 54.42 | 62.09 | 57.15 | 41.2 | 25.34
Malakand/Jabban | Hydel | Hydel | 137.67 | 134.46 | 134.74 | 124.99 | 116.03
Total Hydel (WAPDA) |  |  | 37136.04 | 36856.88 | 32522.88 | 31399.16 | 35032.87
A2: Hydel (IPPs)
Jagran (AJ&K) | Hydel | Hydel | 86.25 | 113.23 | 121.27 | 103.61 | 113.18
Malakand-III (PEDO) | Hydel | Hydel | 408.53 | 321.57 | 353.87 | 267.77 | 221.59
Pehur (PEDO) | Hydel | Hydel | 50.59 | 0 | 0 | 0 | 0
Laraib Energy (AJK) | Hydel | Hydel | 384.43 | 465.29 | 412.66 | 345 | 415.97
Marala Hydro (PPDCL) | Hydel | Hydel | 32.16 | 36.59 | 26.61 | 22.79 | 0
Patrind Hydro (AJK) | Hydel | Hydel | 566.25 | 624.45 | 1160.15 | 548.6 | 564.85
Gulpur Hydropower | Hydel | Hydel | 34.33 | 256.88 | 230.99 | 304.69 | 268.07
Daral Khwar | Hydel | Hydel | -- | 91.84 | 117.37 | 127.29 | 124.37
Ranolia | Hydel | Hydel | -- | 33.81 | 54.06 | 12.73 | 0
Karot Power Co. | Hydel | Hydel | -- | -- | 546.42 | 3130.67 | 3161.45
Total Hydel (IPPs) |  |  | 1562.55 | 1943.66 | 3023.4 | 4863.15 | 4869.47
Total Hydel (A1 + A2) |  |  | 38698.59 | 38800.54 | 35546.28 | 36262.31 | 39902.34
B1: Thermal (GENCOs: CPPA-G System)
TPS Jamshoro | RFO + Gas | RFO | 209.9 | 199.55 | 245.53 | 25.4 | 0
TPS Guddu (Units 5-10) | Gas |  | 1294.84 | 1477.11 | 1385.84 | 1948.96 | 341.73 | [8 empty] | from actual total | GWa
TPS Guddu (Units 11-13) | Gas |  | 311.56 | 223.96 | 148.16 | 19.42 | 0 | R12_PAK | gas_cc | 2015 | M1 | year | 4.1931 | GWa | 0.74247 | 32226.0815 | 3.6788
TPS Guddu (Units 14-16) | Gas | HSD | 4315.35 | 3123.82 | 2609.95 | 2635.92 | 2209.13 | R12_PAK | gas_ct | 2015 | M1 | year | 0.079632 | GWa | 0.0141 | 612.0119 | 0.069864
TPS Muzaffargarh | Gas | RFO | 299.86 | 282.26 | 220.43 | 50.91 | 15.23 | R12_PAK | gas_ppl | 2015 | M1 | year | 1.3748 | GWa | 0.24343 | 10565.6266 | 1.2061
GTPS Faisalabad | Gas | HSD | 0 | 14.26 | 98.83 | 0 | 0 | [5 empty] | 5.6475 | GWa |  |  | 4.9548
TPS Nandipur | Gas | HSD | 1476.33 | 1481.98 | 1640.82 | 1276.42 | 923.5 | [5 empty] | 49472.1 | GWh
Total Thermal (GENCOs: CPPA-G System) |  |  | 7907.85 | 6802.93 | 6349.56 | 5957.03 | 3489.59
B2: Thermal (IPPs: CPPA-G System)
Lal Pir Power | RFO |  | 186.32 | 620.78 | 1022.68 | 397.59 | 358.99
Pak Gen. Power | RFO |  | 149.76 | 445.54 | 1304.35 | 443.74 | 211
Altern Energy | Gas |  | 3.73 | 12.4 | 0 | 0 | 0
Fauji Kabirwala | Gas | HSD | 346.32 | 389.96 | 357.21 | 66.33 | 92.01
Habibullah Coastal | Gas | HSD | 108.37 | 0 | 0 | 0 | 0
Hub Power | RFO |  | 32.38 | 112.91 | 1219.58 | 204.78 | 0
KAPCO | Gas | RFO+HSD | 3476.67 | 3562.24 | 5142 | 587.84 | 0
Kohinoor Energy | RFO |  | 363.86 | 337.07 | 515.84 | 329.16 | 207.62
Rousch Power | Gas | HSD | 217.53 | 284.36 | 495.78 | 179.04 | 9.71
Saba Power | RFO |  | 50.83 | 121.65 | 329.95 | 148.54 | 54.18
Liberty Daharki Power | Gas | HSD | 896.74 | 983.33 | 1054.06 | 1001.19 | 903.87
Uch Power | Gas | HSD | 4087.33 | 4088.44 | 4300.52 | 3901.33 | 3965.85
Attock Gen. | RFO |  | 320.96 | 384.03 | 721.93 | 483.59 | 206.64
Atlas Power | RFO |  | 259.33 | 517.08 | 1007.25 | 521.94 | 252.87
Engro Powergen. Qadirpur | Gas | HSD | 700.74 | 648.5 | 791.03 | 935.42 | 813.48
Saif Power | Gas | HSD | 476.28 | 639.4 | 734.99 | 538.22 | 220.59
Orient Power | Gas | HSD | 338 | 597.92 | 836.38 | 604.79 | 541.2
Nishat Power | RFO |  | 277.46 | 523.4 | 794.25 | 537.9 | 453.69
Nishat Chunian | RFO |  | 351.23 | 537.57 | 882.46 | 386.13 | 240.45
Sapphire Electric | Gas | HSD | 296.76 | 568.04 | 780.5 | 452.52 | 479.36
Halmore Power | Gas | HSD | 347.69 | 509.79 | 675.93 | 287.05 | 207.55
Narowal Energy | RFO |  | 338.08 | 496.06 | 867.49 | 469.88 | 200.96
Liberty Power Tech. | RFO |  | 458.54 | 606.66 | 925.44 | 556.15 | 239.94
Foundation Power | Gas |  | 777.3 | 1000.37 | 1272.89 | 1190.38 | 1087.56
Uch-II Power | Low BTU Gas |  | 2148.02 | 2339.37 | 2828.67 | 2776.43 | 2025.72
Huaneng Shandong Ruyi (Sahiwal) | Bituminous Coal |  | 6167.19 | 7342.7 | 6881.38 | 2876.85 | 2075.55
QATPL (Bhikki) | RLNG | HSD | 5192.5 | 7118.8 | 6090.92 | 4697.55 | 3660.15
NPPMCL (Haveli Bahadur Shah) | RLNG | HSD | 7050.34 | 7682.35 | 7488.57 | 6520.55 | 7930.78
NPPMCL (Balloki) | RLNG | HSD | 5911.84 | 6032.81 | 7186.71 | 6863.66 | 6684.63
Port Qasim Electric Power | Bituminous Coal, HSD |  | 8969.74 | 8372.38 | 7478.64 | 3203 | 782.26
Reshma Power | RFO/HSFO |  | 2.07 | 0 | 0 | 0 | 0
China Power Hub | Imported Coal |  | 6136.2 | 7923.41 | 6764.89 | 1546.82 | 476.55
Engro Powergen Thar | Thar Coal |  | 4280.22 | 3909.3 | 3676.95 | 3646.06 | 3766.21
Lucky Electric Power | Coal |  | -- | -- | 1774.1 | 3316.14 | 1688.68
Punjab Thermal Power | RLNG |  | -- | -- | 77.56 | 152.62 | 3197.29
Thar Energy | Thar Coal |  | -- | -- | -- | 1205.57 | 1948.5
Thar Coal Block-1 Power | Thar Coal |  | -- | -- | -- | 4255.92 | 7500.33
ThalNova Power | Thar Coal |  | -- | -- | -- | 923.53 | 1979.84
Total Thermal (IPPs/SPPs/CPPs: CPPA-G System) |  |  | 60720.31 | 68708.63 | 76280.9 | 56208.19 | 54463.99
Total Thermal: CPPA-G System (B1+B2) |  |  | 68628.16 | 75511.56 | 82630.46 | 62165.22 | 57953.59
C: Nuclear
CHASNUPP-I | NUC | NUC | 2044.64 | 2244.33 | 2512.58 | 2298.98 | 1959.76
CHASNUPP-II | NUC | NUC | 2636.12 | 2067.98 | 2437.86 | 2437.89 | 2520.36
CHASNUPP-III | NUC | NUC | 2322.85 | 2403.62 | 2320.38 | 2500.37 | 2331.33
CHASNUPP-IV | NUC | NUC | 2701.28 | 2456.15 | 2179.48 | 2471.98 | 2498.06
KANUPP | NUC | NUC | 193.13 | 219.04 | 45.77 | 0 | 0
KANUPP-II | NUC | NUC | -- | 1698.92 | 6830.42 | 7562.27 | 5900.77
KANUPP-III | NUC | NUC | -- | -- | 1967.06 | 6783.07 | 7944.52
Total Nuclear (C) |  |  | 9898.02 | 11090.05 | 18293.55 | 24054.56 | 23154.81
D: Import | [14 empty] | actual
Import from Iran (Tavanir) |  |  | 513.74 | 498.37 | 514.36 | 478.62 | 377.58 | R12_PAK | elec_imp_asia | 2015 | M1 | year | 0.4664 | GWa | 0.043103
Total Import: CPPA-G System (D) |  |  | 513.74 | 498.37 | 514.36 | 478.62 | 377.58 | [5 empty] | 4085.6522
E: Renewable Energy (CPPA-G System)
E1: Wind Power Projects
Zorlu Enerji Pakistan | Wind | Wind | 143.55 | 109.66 | 128.63 | 95.69 | 115.96 | [7 empty] | actual
FFC Energy | Wind | Wind | 118.4 | 90.9 | 114.54 | 76.55 | 97.19 | R12_PAK | wind_res_hist_2010 | 2025 | M1 | year | 0.00068493 | GWa | 0.16408
Three Gorges First Wind Farm | Wind | Wind | 135.62 | 99.14 | 123.79 | 88.43 | 108.36 | R12_PAK | wind_res_hist_2015 | 2025 | M1 | year | 0.070293 | GWa
Foundation Wind Energy-I | Wind | Wind | 239.29 | 123.24 | 127.14 | 88.92 | 110.98 | R12_PAK | wind_res_hist_2020 | 2025 | M1 | year | 0.21484 | GWa
Foundation Wind Energy-II | Wind | Wind |  | 73.18 | 141.83 | 97.68 | 122.97 | R12_PAK | wind_res_hist_2025 | 2025 | M1 | year | 0.231 | GWa
Sapphire Wind | Wind | Wind | 89.7 | 104.01 | 129.94 | 81.42 | 79.43 | [5 empty] | 0.51682 | GWa
Yunus Energy | Wind | Wind | 89.86 | 108.84 | 135.73 | 89.81 | 83.29 | [5 empty] | 4527.3065 | GWh
Metro Power Company | Wind | Wind | 153.06 | 120.11 | 147.63 | 106.75 | 125.17 |  |  |  |  | actual | 0.44989
Gul Ahmad Wind | Wind | Wind | 91.15 | 110.38 | 137.87 | 87.18 | 83.27
Master Wind Energy | Wind | Wind | 96.9 | 110.13 | 137.64 | 89.93 | 85.08
Tenaga Generasi | Wind | Wind | 125.77 | 104.07 | 133.08 | 76.23 | 93.17
HydroChina Dawood Power | Wind | Wind | 121.06 | 101.6 | 132.45 | 71.44 | 89.41
Sachal Energy Development | Wind | Wind | 142.36 | 107.79 | 130.88 | 95.7 | 115.08
UEP Wind Power | Wind | Wind | 179.13 | 203.64 | 254.06 | 172.73 | 169.57
Artistic Wind Power | Wind | Wind | 132.16 | 166.05 | 192.09 | 127.06 | 168.09
Act Wind | Wind | Wind | 64.76 | 74.68 | 88.39 | 53.8 | 72.55
Hawa Energy | Wind | Wind | 115.45 | 140.96 | 169.85 | 117.07 | 100.5
Jhimpir Power | Wind | Wind | 119.18 | 143.91 | 166.01 | 115.78 | 102.25
Three Gorges Second Wind Farm | Wind | Wind | 92.77 | 108.43 | 138.8 | 93.9 | 86.43
Three Gorges Third Wind Farm | Wind | Wind | 95.18 | 112.54 | 142.76 | 97.67 | 88.43
Tricon Boston Consulting-A | Wind | Wind | 124.95 | 149.9 | 181.46 | 125.44 | 111.16
Tricon Boston Consulting-B | Wind | Wind | 117.64 | 144.15 | 177.71 | 121.04 | 108.15
Tricon Boston Consulting-C | Wind | Wind | 117.47 | 143.56 | 178.69 | 121.42 | 107.63
Zephyr Power | Wind | Wind | 177.05 | 149.07 | 189.43 | 110.75 | 121.77
Lucky Renewables | Wind | Wind | -- | -- | 127.5 | 140.29 | 110.69
Master Green Energy | Wind | Wind | -- | -- | 145.41 | 132.31 | 103.97
Act 2 Din Wind | Wind | Wind | -- | -- | 86.89 | 138.67 | 115.2
Artistic 2 Wind Power | Wind | Wind | -- | -- | 83.61 | 132.45 | 110.97
Indus Wind Energy | Wind | Wind | -- | -- | 86.32 | 137.66 | 117.74
Lakeside Energy | Wind | Wind | -- | -- | 73.55 | 139.46 | 114.95
Liberty Wind Power-I | Wind | Wind | -- | -- | 69.85 | 123.89 | 109.25
Din Energy | Wind | Wind | -- | -- | 72.89 | 131.07 | 108.96
Gul Ahmed Electric | Wind | Wind | -- | -- | 84.43 | 143.93 | 118.72
Liberty Wind Power-II | Wind | Wind | -- | -- | 42.92 | 125.06 | 110.9
NASDA Green Energy | Wind | Wind | -- | -- | 62.56 | 143.1 | 115.86
Metro 2 Wind Power | Wind | Wind | -- | -- | 47.84 | 195.76 | 157.97
Total Wind Power Projects |  |  | 2882.48 | 2899.94 | 4584.17 | 4086.05 | 3941.07
E2: Solar Power Projects
Quaid-e-Azam Solar Park | Solar | Solar | 164.99 | 165.56 | 164.69 | 160.47 | 155.11
Appolo Solar Development | Solar | Solar | 163.02 | 164.9 | 168.68 | 165.83 | 162
Best Green Energy | Solar | Solar | 162.92 | 164.25 | 167.34 | 166.17 | 158.95
Crest Energy | Solar | Solar | 165.31 | 166.97 | 169.18 | 169.83 | 163.24
AJ Power | Solar | Solar | 18.03 | 18.5 | 65.37 | 18.35 | 17.59
Harappa Solar | Solar | Solar | 30.69 | 31.45 | 18.78 | 31.07 | 30.28
Atlas Solar | Solar | Solar | -- | -- | 31.37 | 197.12 | 191.87
Helios Power | Solar | Solar | -- | -- | -- | -- | 49.48
Meridian Energy | Solar | Solar | -- | -- | -- | -- | 50.76
HNDS Energy | Solar | Solar | -- | -- | -- | -- | 49.62
Net-Metering | Solar | Solar | -- | -- | -- | 183.04 | 438.46
Total Solar |  |  | 704.97 | 711.63 | 785.41 | 1091.87 | 1467.36
E3: Bagasse/Biomass Power Projects
Jamal Din Wali-II | Bagasse + Biomass |  | 161.88 | 177.17 | 169.48 | 190.76 | 168.3
Jamal Din Wali-III | Bagasse + Biomass |  | 129.21 | 144.44 | 136.74 | 186.04 | 180.44
RYK Mills | Bagasse | Bagasse | 73.67 | 73.94 | 97.27 | 100.99 | 76.27
Chiniot Power | Bagasse | Bagasse | 80.45 | 160.56 | 222.54 | 186.81 | 140.91
Hamza Sugar Mills | Bagasse + Biomass |  | 45.03 | 39.99 | 61.06 | 53.48 | 59.19
Thal Industries Corp. | Bagasse | FO | 36.79 | 46.37 | 73.67 | 61.22 | 56.27
Almoiz Industries | Bagasse | Bagasse | 15.1 | 29.83 | 17.38 | 25.02 | 29.1
Chanar Energy | Bagasse | Bagasse | 22.34 | 38.26 | 47.92 | 41.05 | 16.37
Total Bagasse/Biomass Power Projects |  |  | 564.46 | 710.56 | 826.06 | 845.36 | 726.85
Total Renewable Energy (E1+E2+E3) (CPPA-G System) (E |  |  | 4151.91 | 4322.13 | 6195.64 | 6023.28 | 6135.28
F1: Thermal (KE Own)
Bin Qasim TPS-I | Dual | RLNG | 3824.66 | 4730 | 3289.1 | 1851.7 | 622.22
Bin Qasim TPS-II | Dual | RLNG | 4030.54 | 3926 | 3587.52 | 2634.48 | 2557.08
Bin Qasim TPS-III | RLNG | RLNG | -- | -- | 243.5 | 2522.58 | 4178.13
Korangi Town GTPS-II | Gas | RLNG | 299.73 | 365.23 | 114.52 | 10.18 | 1.59
Site GTPS-II | Gas | RLNG | 397.23 | 215.67 | 102.86 | 24.41 | 0.17
Korangi CCPP | Gas | RLNG | 1076.74 | 948.7 | 552.46 | 49.74 | 112.13
Total Thermal (KE Own) |  |  | 9628.9 | 10185.6 | 7889.96 | 7093.09 | 7471.32
F2: Thermal (IPPs connected with KE System)
Gul Ahmed | RFO |  | 496.14 | 673 | 705.43 | 508.68 | 268.59
Tapal Energy | RFO |  | 627.77 | 737 | 715.86 | 518.43 | 288.33
SNPCL-I (IPP-2002) | Gas |  | 371.86 | 394.35 | 363.36 | 292.66 | 301.73
SNPCL-II (IPP-2002) | Gas |  | 367.83 | 380.22 | 345.81 | 287.03 | 297.54
Total Thermal (IPPs KE) |  |  | 1863.6 | 2184.57 | 2130.46 | 1606.8 | 1156.19
F3: Thermal (Others connected with KE System)
Anoud Power (IGC) | RFO / Gas / | DO | 59.52 | 12 | 0 | 0 | 0 |  | THERMAL
Intl. Steel Ltd. (CPP) | Gas |  | 51.21 | 43 | 28.54 | 26.89 | 15.77 |  |  | 66929.43
Intl. Ind. Ltd. (CPP) | Gas |  | 10.66 | 10 | 9.29 | 10.41 | 1.58
FFBL Power (Distributed Gen.) | Imported / Local Coal |  | 412.91 | 452.88 | 406.69 | 346.26 | 324.54
Lotte Chemicals | Gas | Gas | -- | 61 | 35.44 | 21.08 | 3.08
Lucky Cement | Gas | Gas | -- | 0.02 | 2.98 | 2.26 | 3.36
Total Thermal (Others connected with KE System) |  |  | 534.3 | 578.9 | 482.94 | 406.9 | 348.33
Total Thermal KE (F1+F2+F3) |  |  | 12026.8 | 12949.07 | 10503.36 | 9106.79 | 8975.84
F4: Renewable Energy (connected with KE System)
Oursun Pakistan | Solar | Solar | 88.28 | 90.87 | 89.58 | 89.32 | 88.08
Gharo Solar | Solar | Solar | 65 | 108.69 | 102.64 | 101.69 | 99.3
Net-Metering | Solar | Solar | -- | -- | 44 | 107.18 | 195.07
Total RE (connected with KE System) |  |  | 153.28 | 199.56 | 236.22 | 298.19 | 382.45
Total KE (KE own and others connected with KE System) |  |  | 12180.08 | 13148.63 | 10739.58 | 9404.98 | 9358.29
G: SPPs/CPPs/N-CPPs: CPPA-G System
Total SPPs/CPPs/N-CPPs: CPPA-G System (G) |  |  | 170.99 | 216.8 | 136.31 | 150.02 | 314.19
Grand Total (A+B+C+D+E+F+G) |  |  | 134241.49 | 143588.08 | 154056.18 | 138539 | 137196.07
[9 empty] | Quaid-e-Azam Solar Park | Solar | Solar | 164.99 | 165.56 | 164.69 | 160.47 | 155.11
[9 empty] | Appolo Solar Development | Solar | Solar | 163.02 | 164.9 | 168.68 | 165.83 | 162
[9 empty] | Best Green Energy | Solar | Solar | 162.92 | 164.25 | 167.34 | 166.17 | 158.95
[9 empty] | Crest Energy | Solar | Solar | 165.31 | 166.97 | 169.18 | 169.83 | 163.24
[9 empty] | AJ Power | Solar | Solar | 18.03 | 18.5 | 65.37 | 18.35 | 17.59
[9 empty] | Harappa Solar | Solar | Solar | 30.69 | 31.45 | 18.78 | 31.07 | 30.28
[9 empty] | Atlas Solar | Solar | Solar | -- | -- | 31.37 | 197.12 | 191.87
[9 empty] | Helios Power | Solar | Solar | -- | -- | -- | -- | 49.48
[9 empty] | Meridian Energy | Solar | Solar | -- | -- | -- | -- | 50.76
[9 empty] | HNDS Energy | Solar | Solar | -- | -- | -- | -- | 49.62
[9 empty] | Net-Metering | Solar | Solar | -- | -- | -- | 183.04 | 438.46
[9 empty] | Oursun Pakistan | Solar | Solar | 88.28 | 90.87 | 89.58 | 89.32 | 88.08
[9 empty] | Gharo Solar | Solar | Solar | 65 | 108.69 | 102.64 | 101.69 | 99.3
[9 empty] | Net-Metering | Solar | Solar | -- | -- | 44 | 107.18 | 195.07
[12 empty] | 858.24 | 911.19 | 1021.63 | 1390.07 | 1849.81